## fill in this form
[7 empty] | MCX 912 / 913 Parameter Collection Form |  | MCX 91x last change with parameter collection tool version | 1.0
[6 empty] | Tool Version | 1.0 |  | MCX 91x last change with Excel version
[6 empty] | Protocol Data Revision No | 0 |  | MCX 91x protocol data revision no. | 0
Customer and plant information | [8 empty] | MCX 91x last editor
Customer name | [8 empty] | MCX 91x last change date
Substation designation | [8 empty] | MCX 91x last change time
Bay designation | [7 empty] | FALSE | MCX 91x last change with OS
ABB order number | [8 empty] | MCX 91x last CSV export date
Parameter collection information | [8 empty] | Customer name
Collection Date | [8 empty] | Substation designation
Collected by | [8 empty] | Bay designation
Company | [8 empty] | ABB order number
Department | [8 empty] | Collection date
Phone number | [8 empty] | Collected by
E-mail address | [8 empty] | Collection company
Relay data | [8 empty] | Collection department
Relay type designation |  |  | MCX91X - X - X - X | [5 empty] | Collection phone number
Relay serial number | [8 empty] | Collection E-mail address
Relay type | [8 empty] | Relay type designation | MCX91X - X - X - X
Relay rated current |  | INR |  |  |  |  | A |  | Relay serial number
Relay rated frequency | [6 empty] | Hz |  | Relay type
Relay auxiliary supply voltage | [8 empty] | Relay rated current | 0
Current transformer data | [8 empty] | Relay rated frequency | 0
CT primary rated current | [6 empty] | A |  | Relay auxiliary supply voltage
CT ratio |  | KI | Relay rated current missing | [5 empty] | CT primary rated current | 0
Io current transformer data | [8 empty] | CT ratio | Relay rated current missing
Io is a Io current transformer present? | [8 empty] | Io Is a Io current transformer present?
Io CT primary rated current | [6 empty] | A | FALSE | Io CT primary rated current | 0
Io CT ratio |  | KIo | [6 empty] | Io CT ratio | 0
MCX-Relay setting values | [8 empty] | Mode_00 Setting current | 0
Setting current | Mode 00 | IE |  |  |  |  | INR | FALSE | Mode_01 I>>1 Short circuit protection | 0
Short circuit protection I>> Instance: 1 | [8 empty] | Mode_02 I>>1 Time lag | 0
I>>1 Short circuit protection | Mode 01 | I>>1 |  |  |  |  | IE | FALSE | Mode_03 I>1 Overcurrent protection | 0
I>>1 Time lag | Mode 02 | tI>>1 |  |  |  |  | s | FALSE | Mode_04 I>1 Time lag | 0
Overcurrent protection I> Instance: 1 | [8 empty] | Mode_05 NPS protection | 0
I>1 Overcurrent protection | Mode 03 | I>1 |  |  |  |  | IE | FALSE | Mode_06 NPS Time lag | 0
I>1 Time lag | Mode 04 | tI>1 |  |  |  |  | s | FALSE | Mode_07 Io Earth fault protection | 0
Negative phase sequence protection | [8 empty] | Mode_08 Io Time lag | 0
NPS protection | Mode 05 | I2 |  |  |  |  | IE | FALSE | Mode_09 Io INT / EXT | 0
NPS Time lag | Mode 06 | tI2 |  |  |  |  | s | FALSE | Mode_10 Io C.t. ratio | 0
Earth fault protection | [8 empty] | Mode_11 IblR Locked rotor protection | 0
Io Earth fault protection | Mode 07 | Io |  |  |  |  | IE | FALSE | Mode_12 IblR Time lag | 0
Io Time lag | Mode 08 | tIo |  |  |  |  | s | FALSE | Mode_13 Istart Starting protection | 0
Io INT / EXT | Mode 09 | [6 empty] | FALSE | Mode_14 Istart I²T permitted for start | 0
Io C.t. ratio | Mode 10 | k | [5 empty] | FALSE | Mode_15 I< Protection against low load | 0
Locked rotor protection | [8 empty] | Mode_16 I< Time lag | 0
IblR Locked rotor protection | Mode 11 | Ibl.R. |  |  |  |  | IE | FALSE | Motor start-up time | 0
IblR Time lag | Mode 12 | tbl.R. |  |  |  |  | s | FALSE | Mode_17 Number of motor starts from cold | 0
Motor starting protection | [8 empty] | Mode_18 Number of motor starts from warm state | 0
Istart Starting protection | Mode 13 | Istart |  |  |  |  | IE | FALSE | Mode_19 Time for N=N-1 | 0
Istart I²T permitted for start | Mode 14 | I²Tstart |  |  |  |  | IE2 s | FALSE | Mode_20 Temperature rise Δϑ3 | 0
Protection against low load | [8 empty] | Mode_21 Start with overheating | 0
I< Protection against low load | Mode 15 | I< |  |  |  |  | IE | FALSE | Mode_30 Temperature rise Δϑ1 | 0
I< Time lag | Mode 16 | tI< |  |  |  |  | s | FALSE | Mode_31 Temperature rise Δϑ2 | 0
Protection against too many motor starts | [8 empty] | Mode_32 Reset for Δϑ2 | 0
Motor start-up time |  | tstart |  |  |  |  | s | FALSE | Mode_33 Heating time constant | 0
Number of motor starts from cold | Mode 17 | Ncold | [5 empty] | FALSE | Mode_34 Cooling time constant | 0
Number of motor starts from warm state | Mode 18 | Nwarm | [5 empty] | FALSE | Mode_38 Δϑo automatic | 0
Time for N=N-1 | Mode 19 | tN-1 |  |  |  |  | s | FALSE | Mode_39 Δϑo manual | 0
| Mode 20 | [7 empty] | Mode_40 Time setting for measurement mean values | 0
Temperature rise DJ3 | Mode 20 | DJ3 |  |  |  |  | % | FALSE | Mode_41 I>>2 Short circuit protection | 0
Start with overheating | Mode 21 | NS | [5 empty] | FALSE | Mode_42 I>>2 Time lag | 0
Thermal overload protection | [8 empty] | Mode_43 I>2 Overcurrent protection | 0
Temperature rise DJ1 | Mode 30 | DJ1 |  |  |  |  | % | FALSE | Mode_44 I>2 Time lag | 0
Temperature rise DJ2 | Mode 31 | DJ2 |  |  |  |  | % | FALSE | Mode_45 I>3 Overcurrent protection | 0
Reset for DJ2 | Mode 32 | HDJ |  |  |  |  | % | FALSE | Mode_46 I>3 Time lag | 0
Heating time constant | Mode 33 | t­ |  |  |  |  | min | FALSE | Mode_47 Function selection | 0
Cooling time constant | Mode 34 | t¯ |  |  |  |  | min | FALSE | Mode_101 MRI I>>1 Short circuit protection | 0
DJ0 automatic | Mode 38 | DJ0 |  |  |  |  | % | FALSE | Mode_103 MRI I>1 Overcurrent protection | 0
DJ0 manual | Mode 39 | DJ0 |  |  |  |  | % | TRUE | Mode_105 MRI NPS protection | 0
Measurement mean value setting | [8 empty] | Mode_107 MRI Io Earth·fault protection | 0
Time setting for measurement mean values | Mode 40 | kTE | [6 empty] | Mode_111 MRI IblR Locked rotor protection | 0
Short circuit protection I>> Instance: 2 | [8 empty] | Mode_113 MRI Istart Starting protection | 0
I>>2 Short circuit protection | Mode 41 | I>>2 |  |  |  |  | IE | FALSE | Mode_115 MRI I< Protection against low load | 0
I>>2 Time lag | Mode 42 | tI>>2 |  |  |  |  | s | FALSE | Mode_117 MRI Number of motor starts from cold or warm | 0
Overcurrent protection I> Instance: 2 | [8 empty] | Mode_120 MRI Temperature rise Δϑ3 | 0
I>2 Overcurrent protection | Mode 43 | I>2 |  |  |  |  | IE | FALSE | Mode_130 MRI Temperature rise Δϑ1 (Warn), Δϑ2 (Trip) | 0
I>2 Time lag | Mode 44 | tI>2 |  |  |  |  | s | FALSE | Mode_141 MRI I>>2 Short circuit protection | 0
Overcurrent protection I> Instance: 3 | [8 empty] | Mode_143 MRI I>2 Overcurrent protection | 0
I>3 Overcurrent protection | Mode 45 | I>3 |  |  |  |  | IE | FALSE | Mode_145 MRI I>3 Overcurrent protection | 0
I>3 Time lag | Mode 46 | tI>3 |  |  |  |  | s | FALSE | Mode_101 MRII I>>1 Short circuit protection | 0
Put protection function groups out of action | [8 empty] | Mode_103 MRII I>1 Overcurrent protection | 0
Function selection | Mode 47 | CTRL 1 |  |  |  |  | IE |  | Mode_105 MRII NPS protection | 0
Tripping matrix settings |  |  | Digit 3 MR I | Digit 2 MR II | Digit 1 AR I | Digit 0 AR II |  |  | Mode_107 MRII Io Earth·fault protection | 0
I>>1 Short circuit protection | Mode 101 | I>>1 | [5 empty] | FALSE | Mode_111 MRII IblR Locked rotor protection | 0
I>1 Overcurrent protection | Mode 103 | I>1 | [5 empty] | FALSE | Mode_113 MRII Istart Starting protection | 0
NPS protection | Mode 105 | I2 | [5 empty] | FALSE | Mode_115 MRII I< Protection against low load | 0
Io Earth·fault protection | Mode 107 | Io | [5 empty] | FALSE | Mode_117 MRII Number of motor starts from cold or warm | 0
IblR Locked rotor protection | Mode 111 | Ibl.R. | [5 empty] | FALSE | Mode_120 MRII Temperature rise Δϑ3 | 0
Istart Starting protection | Mode 113 | Istart | [5 empty] | FALSE | Mode_130 MRII Temperature rise Δϑ1 (Warn), Δϑ2 (Trip) | 0
I< Protection against low load | Mode 115 | I< | [5 empty] | FALSE | Mode_141 MRII I>>2 Short circuit protection | 0
Number of motor starts from cold or warm | Mode 117 | Ncold, Nwarm | [5 empty] | FALSE | Mode_143 MRII I>2 Overcurrent protection | 0
Temperature rise DJ3 | Mode 120 | DJ3 | [5 empty] | FALSE | Mode_145 MRII I>3 Overcurrent protection | 0
Temperature rise DJ1 (Warn), DJ2 (Trip) | Mode 130 | DJ1,DJ2 | [5 empty] | FALSE | Mode_101 ARI I>>1 Short circuit protection | 0
I>>2 Short circuit protection | Mode 141 | I>>2 | [5 empty] | FALSE | Mode_103 ARI I>1 Overcurrent protection | 0
I>2 Overcurrent protection | Mode 143 | I>2 | [5 empty] | FALSE | Mode_105 ARI NPS protection | 0
I>3 Overcurrent protection | Mode 145 | I>3 | [5 empty] | FALSE | Mode_107 ARI Io Earth·fault protection | 0
Jumper S4 (General blocking setting for selective relay or complete protection relay) | [8 empty] | Mode_111 ARI IblR Locked rotor protection | 0
Jumper S4 position | [8 empty] | Mode_113 ARI Istart Starting protection | 0
Switch S65 state (Settings for selective relay blocking) | [8 empty] | Mode_115 ARI I< Protection against low load | 0
S65 switch 1 signalling relay MRI | [8 empty] | Mode_117 ARI Number of motor starts from cold or warm | 0
S65 switch 2 signalling relay MRII | [8 empty] | Mode_120 ARI Temperature rise Δϑ3 | 0
S65 switch 3 tripping relay ARI | [8 empty] | Mode_130 ARI Temperature rise Δϑ1 (Warn), Δϑ2 (Trip) | 0
S65 switch 4 tripping relay ARII | [8 empty] | Mode_141 ARI I>>2 Short circuit protection | 0
[9 empty] | Mode_143 ARI I>2 Overcurrent protection | 0
[9 empty] | Mode_145 ARI I>3 Overcurrent protection | 0
[9 empty] | Mode_101 ARII I>>1 Short circuit protection | 0
[9 empty] | Mode_103 ARII I>1 Overcurrent protection | 0
[9 empty] | Mode_105 ARII NPS protection | 0
[9 empty] | Mode_107 ARII Io Earth·fault protection | 0
[9 empty] | Mode_111 ARII IblR Locked rotor protection | 0
[9 empty] | Mode_113 ARII Istart Starting protection | 0
[9 empty] | Mode_115 ARII I< Protection against low load | 0
[9 empty] | Mode_117 ARII Number of motor starts from cold or warm | 0
[9 empty] | Mode_120 ARII Temperature rise Δϑ3 | 0
[9 empty] | Mode_130 ARII Temperature rise Δϑ1 (Warn), Δϑ2 (Trip) | 0
[9 empty] | Mode_141 ARII I>>2 Short circuit protection | 0
[9 empty] | Mode_143 ARII I>2 Overcurrent protection | 0
[9 empty] | Mode_145 ARII I>3 Overcurrent protection | 0
Jumper S4 position
S65 switch 1 signalling relay MRI
S65 switch 2 signalling relay MRII
S65 switch 3 tripping relay ARI
S65 switch 4 tripping relay ARII